704-332-5600                                  6215 Orr Road Charlotte, NC  28213

PREPARATION for WASTE PICKUP

Haz~Mat has prepared this list to reduce assist with prepping for a pick

Drums :

- Assure drums are in good shippable condition.

- Containers should be free of waste on outside of drum.  Please wipe off any excess material.

- Lids and bungs should be tight.  If missing bungs please contact your Account Manager prior to shipping.

- Double check waste codes on profiles to drums label.

- Place labels (hazardous or non-hazardous ) on upper 1/ 3  side of the container

- Place DOT approved label next to the hazardous  waste label on each drum as required.(Place as a diamond)

- Any supplies necessary, ( extra drums/labels/pails) please contact your Account Manager

- Containers placed near dock in a  readily accessible  area  will  allow for ease in loading.

- Notify your Account Manager if you have a dock or need a lift gate on our trucks.

LAB PACKS-( <5-gallon containers) notify your Account Manager prior to scheduled pick up.

### Please alert Haz~Mat or your Account Manager  with any special instructions.

### Questions? Call Haz~Mat at 704-332-5600

### Thank you for your business!